## Generator_Y2020_Early_Release
Generator_Y2020_Early_Release
Operable
Utility ID | Utility Name | Plant Code | Plant Name | State | County | Generator ID | Technology | Prime Mover | Unit Code | Ownership | Duct Burners | Can Bypass Heat Recovery Steam Generator? | RTO/ISO LMP Node Designation | RTO/ISO Location Designation for Reporting Wholesale Sales Data to FERC | Nameplate Capacity (MW) | Nameplate Power Factor | Summer Capacity (MW) | Winter Capacity (MW) | Minimum Load (MW) | Uprate or Derate Completed During Year | Month Uprate or Derate Completed | Year Uprate or Derate Completed | Status | Synchronized to Transmission Grid | Operating Month | Operating Year | Planned Retirement Month | Planned Retirement Year | Associated with Combined Heat and Power System | Sector Name | Sector | Topping or Bottoming | Energy Source 1 | Energy Source 2 | Energy Source 3 | Energy Source 4 | Energy Source 5 | Energy Source 6 | Startup Source 1 | Startup Source 2 | Startup Source 3 | Startup Source 4 | Solid Fuel Gasification System? | Carbon Capture Technology? | Turbines or Hydrokinetic Buoys | Time from Cold Shutdown to Full Load | Fluidized Bed Technology? | Pulverized Coal Technology? | Stoker Technology? | Other Combustion Technology? | Subcritical Technology? | Supercritical Technology? | Ultrasupercritical Technology? | Planned Net Summer Capacity Uprate (MW) | Planned Net Winter Capacity Uprate (MW) | Planned Uprate Month | Planned Uprate Year | Planned Net Summer Capacity Derate (MW) | Planned Net Winter Capacity Derate (MW) | Planned Derate Month | Planned Derate Year | Planned New Prime Mover | Planned Energy Source 1 | Planned New Nameplate Capacity (MW) | Planned Repower Month | Planned Repower Year | Other Planned Modifications? | Other Modifications Month | Other Modifications Year | Multiple Fuels? | Cofire Fuels? | Switch Between Oil and Natural Gas?
12384 | Midwest Generations EME LLC | 886 | Fisk Street | IL | Cook | 311 | Petroleum Liquids | GT |  | S | X | X |  |  | 32.5 | 0.85 | 25.4 | 34 | 10 | N |  |  | OP | X | 7 | 1968 |  |  | N | IPP Non-CHP | 2 | X | DFO | [12 empty] | 10M | [23 empty] | N
12384 | Midwest Generations EME LLC | 886 | Fisk Street | IL | Cook | 312 | Petroleum Liquids | GT |  | S | X | X |  |  | 32.5 | 0.85 | 23.7 | 31.6 | 10 | N |  |  | OP | X | 7 | 1968 |  |  | N | IPP Non-CHP | 2 | X | DFO | [12 empty] | 10M | [23 empty] | N
12384 | Midwest Generations EME LLC | 886 | Fisk Street | IL | Cook | 321 | Petroleum Liquids | GT |  | S | X | X |  |  | 32.5 | 0.85 | 25.4 | 34 | 10 | N |  |  | OP | X | 7 | 1968 |  |  | N | IPP Non-CHP | 2 | X | DFO | [12 empty] | 10M | [23 empty] | N
12384 | Midwest Generations EME LLC | 886 | Fisk Street | IL | Cook | 322 | Petroleum Liquids | GT |  | S | X | X |  |  | 32.5 | 0.85 | 25.4 | 34 | 10 | N |  |  | OP | X | 7 | 1968 |  |  | N | IPP Non-CHP | 2 | X | DFO | [12 empty] | 10M | [23 empty] | N
12384 | Midwest Generations EME LLC | 886 | Fisk Street | IL | Cook | 331 | Petroleum Liquids | GT |  | S | X | X |  |  | 32.5 | 0.85 | 23.7 | 31.6 | 10 | N |  |  | OP | X | 7 | 1968 |  |  | N | IPP Non-CHP | 2 | X | DFO | [12 empty] | 10M | [23 empty] | N
12384 | Midwest Generations EME LLC | 886 | Fisk Street | IL | Cook | 332 | Petroleum Liquids | GT |  | S | X | X |  |  | 32.5 | 0.85 | 25.4 | 34 | 10 | N |  |  | OP | X | 7 | 1968 |  |  | N | IPP Non-CHP | 2 | X | DFO | [12 empty] | 10M | [23 empty] | N
12384 | Midwest Generations EME LLC | 886 | Fisk Street | IL | Cook | 341 | Petroleum Liquids | GT |  | S | X | X |  |  | 32.5 | 0.85 | 25.4 | 34 | 10 | N |  |  | OS | X | 7 | 1968 |  |  | N | IPP Non-CHP | 2 | X | DFO | [12 empty] | 10M | [23 empty] | N
12384 | Midwest Generations EME LLC | 886 | Fisk Street | IL | Cook | 342 | Petroleum Liquids | GT |  | S | X | X |  |  | 32.5 | 0.85 | 22.8 | 30.5 | 10 | N |  |  | OP | X | 7 | 1968 |  |  | N | IPP Non-CHP | 2 | X | DFO | [12 empty] | 10M | [23 empty] | N
20824 | Village of Winnetka - (IL) | 972 | Winnetka | IL | Cook | 4 | Natural Gas Steam Turbine | ST |  | S | X | X |  |  | 9.4 | 0.8 | 9.4 | 9.4 | 2.4 | N |  |  | OP | X | 1 | 1953 |  |  | N | Electric Utility | 1 | X | NG | DFO |  |  |  |  | NG |  |  |  | N | N |  | 12H | [23 empty] | Y | Y | Y
20824 | Village of Winnetka - (IL) | 972 | Winnetka | IL | Cook | 6 | Natural Gas Steam Turbine | ST |  | S | X | X |  |  | 6.3 | 0.8 | 6.3 | 6.3 | 2 | N |  |  | OP | X | 1 | 1948 |  |  | N | Electric Utility | 1 | X | NG | DFO |  |  |  |  | NG |  |  |  | N | N |  | 12H | [23 empty] | Y | Y | Y
20824 | Village of Winnetka - (IL) | 972 | Winnetka | IL | Cook | 7 | Natural Gas Steam Turbine | ST |  | S | X | X |  |  | 12.5 | 0.8 | 12.5 | 12.5 | 3.1 | N |  |  | OP | X | 1 | 1960 |  |  | N | Electric Utility | 1 | X | NG | DFO |  |  |  |  | NG |  |  |  | N | N |  | 12H | [23 empty] | Y | Y | Y
20824 | Village of Winnetka - (IL) | 972 | Winnetka | IL | Cook | 8 | Petroleum Liquids | IC |  | S | X | X |  |  | 2.6 | 0.8 | 2.6 | 2.6 | 1.8 | N |  |  | OP | X | 1 | 1979 |  |  | N | Electric Utility | 1 | X | DFO | [9 empty] | N | N |  | 1H | [23 empty] | N | N | N
20824 | Village of Winnetka - (IL) | 972 | Winnetka | IL | Cook | 9 | Petroleum Liquids | IC |  | S | X | X |  |  | 2.6 | 0.8 | 2.6 | 2.6 | 1.8 | N |  |  | OP | X | 1 | 1979 |  |  | N | Electric Utility | 1 | X | DFO | [9 empty] | N | N |  | 1H | [23 empty] | N | N | N
54843 | WM Illinois Renewable Energy LLC | 50573 | CID Gas Recovery | IL | Cook | GEN2 | Landfill Gas | GT |  | S | X | X | Zonal | Zonal | 3 | 0.98 | 2.9 | 3.3 | 1 | N |  |  | OP | X | 3 | 1989 |  |  | N | IPP Non-CHP | 2 | X | LFG | [9 empty] | N |  |  | 1H | [23 empty] | N | N | N
54843 | WM Illinois Renewable Energy LLC | 50575 | Lake Gas Recovery | IL | Cook | GEN2 | Landfill Gas | GT |  | S | X | X | Zonal | Zonal | 3 | 0.98 | 2.9 | 3.3 | 1 | N |  |  | OP | X | 8 | 1993 |  |  | N | IPP Non-CHP | 2 | X | LFG | [9 empty] | N |  |  | 1H | [23 empty] | N | N | N
54843 | WM Illinois Renewable Energy LLC | 50575 | Lake Gas Recovery | IL | Cook | GEN3 | Landfill Gas | GT |  | S | X | X | Zonal | Zonal | 3 | 0.98 | 2.9 | 3.3 | 1 | N |  |  | OP | X | 8 | 1993 |  |  | N | IPP Non-CHP | 2 | X | LFG | [9 empty] | N |  |  | 1H | [23 empty] | N | N | N
16548 | St Francis Hospital | 50952 | Saint Francis Hospital | IL | Cook | GEN1 | Natural Gas Internal Combustion Engine | IC |  | S | X | X |  |  | 0.8 | 0.8 | 0.8 | 0.8 | 0.1 |  |  |  | OS | X | 2 | 1990 |  |  | Y | Commercial CHP | 5 | T | NG | [9 empty] | N |  |  | 10M | [23 empty] | N | N
16548 | St Francis Hospital | 50952 | Saint Francis Hospital | IL | Cook | GEN2 | Natural Gas Internal Combustion Engine | IC |  | S | X | X |  |  | 0.8 | 0.8 | 0.8 | 0.8 | 0.1 |  |  |  | OS | X | 2 | 1990 |  |  | Y | Commercial CHP | 5 | T | NG | [9 empty] | N |  |  | 10M | [23 empty] | N | N
29767 | Illinois Institute-Technology | 52021 | ITT Cogen Facility | IL | Cook | GEN1 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X | 33092313 | 33092313 | 3.7 | 0.8 | 3.5 | 3.7 | 0.1 | N |  |  | SB | Y | 5 | 1991 |  |  | Y | Commercial CHP | 5 | T | NG | DFO |  |  |  |  | NG |  |  |  | N | N | 0 | 1H | [23 empty] | Y | N | Y
29767 | Illinois Institute-Technology | 52021 | ITT Cogen Facility | IL | Cook | GEN2 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X | 33092313 | 33092313 | 3.7 | 0.8 | 3.5 | 3.7 | 0.1 | N |  |  | SB | Y | 5 | 1991 |  |  | Y | Commercial CHP | 5 | T | NG | DFO |  |  |  |  | NG |  |  |  | N | N |  | 1H | [23 empty] | Y | N | Y
19528 | University of Illinois | 54044 | University of Illinois Cogen Facility | IL | Cook | CT1 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 7.8 | 0.86 | 6.4 | 7.8 | 0.5 | N |  |  | OP | X | 1 | 2002 |  |  | Y | Commercial CHP | 5 | T | NG | [9 empty] | N | N |  | 1H | [20 empty] | N |  |  | N | N
19528 | University of Illinois | 54044 | University of Illinois Cogen Facility | IL | Cook | CT2 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 7.8 | 0.86 | 6.4 | 7.8 | 0.5 | N |  |  | OP | X | 1 | 2002 |  |  | Y | Commercial CHP | 5 | T | NG | [9 empty] | N | N |  | 1H | [20 empty] | N |  |  | N | N | N
19528 | University of Illinois | 54044 | University of Illinois Cogen Facility | IL | Cook | CT3 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 7.8 | 0.86 | 6.4 | 7.8 | 0.5 | N |  |  | OP | X | 1 | 2002 |  |  | Y | Commercial CHP | 5 | T | NG | [9 empty] | N | N |  | 1H | [20 empty] | N |  |  | N | N | N
19528 | University of Illinois | 54044 | University of Illinois Cogen Facility | IL | Cook | GEN1 | Natural Gas Internal Combustion Engine | IC |  | S | X | X |  |  | 6.3 | 0.8 | 6.3 | 6.3 | 3 | N |  |  | OP | X | 4 | 1993 |  |  | Y | Commercial CHP | 5 | T | NG | DFO |  |  |  |  | DFO |  |  |  | N | N |  | 1H | [20 empty] | N |  |  | Y | Y | Y
19528 | University of Illinois | 54044 | University of Illinois Cogen Facility | IL | Cook | GEN2 | Natural Gas Internal Combustion Engine | IC |  | S | X | X |  |  | 6.3 | 0.8 | 6.3 | 6.3 | 3 | N |  |  | OP | X | 5 | 1993 |  |  | Y | Commercial CHP | 5 | T | NG | DFO |  |  |  |  | DFO |  |  |  | N | N |  | 1H | [20 empty] | N |  |  | Y | Y | Y
19528 | University of Illinois | 54044 | University of Illinois Cogen Facility | IL | Cook | GEN3 | Natural Gas Internal Combustion Engine | IC |  | S | X | X |  |  | 3.7 | 0.8 | 3.7 | 3.7 | 1 | N |  |  | OS | X | 7 | 2000 |  |  | Y | Commercial CHP | 5 | T | NG | [9 empty] | N | N |  | 1H | [20 empty] | N |  |  | N | N | N
19528 | University of Illinois | 54044 | University of Illinois Cogen Facility | IL | Cook | GEN4 | Natural Gas Internal Combustion Engine | IC |  | S | X | X |  |  | 3.7 | 0.8 | 3.7 | 3.7 | 1 | N |  |  | OS | X | 7 | 2000 |  |  | Y | Commercial CHP | 5 | T | NG | [9 empty] | N | N |  | 1H | [20 empty] | N |  |  | N
19528 | University of Illinois | 54044 | University of Illinois Cogen Facility | IL | Cook | RE1 | Natural Gas Internal Combustion Engine | IC |  | S | X | X |  |  | 5.5 | 0.95 | 5.5 | 5.5 | 1 | N |  |  | OP | X | 1 | 2002 |  |  | Y | Commercial CHP | 5 | T | NG | [9 empty] | N | N |  | 1H | [20 empty] | N |  |  | N
19528 | University of Illinois | 54044 | University of Illinois Cogen Facility | IL | Cook | RE2 | Natural Gas Internal Combustion Engine | IC |  | S | X | X |  |  | 5.5 | 0.95 | 5.5 | 5.5 | 1 | N |  |  | OP | X | 1 | 2002 |  |  | Y | Commercial CHP | 5 | T | NG | [9 empty] | N | N |  | 1H | [20 empty] | N |  |  | N |  | N
19528 | University of Illinois | 54044 | University of Illinois Cogen Facility | IL | Cook | RE3 | Natural Gas Internal Combustion Engine | IC |  | S | X | X |  |  | 5.5 | 0.95 | 5.5 | 5.5 | 1 | N |  |  | OP | X | 1 | 2002 |  |  | Y | Commercial CHP | 5 | T | NG | [9 empty] | N | N |  | 1H | [20 empty] | N |  |  | N |  | N
4222 | Ingredion Inc - Illinois | 54556 | Ingredion Incorporated | IL | Cook | TG03 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 4.8 | 0.8 | 4.4 | 4.8 | 0.5 | N |  |  | SB | Y | 2 | 1996 |  |  | N | Industrial CHP | 7 | X | NG | [9 empty] | N | N |  | 10M | [23 empty] | N | N
4222 | Ingredion Inc - Illinois | 54556 | Ingredion Incorporated | IL | Cook | TG04 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 4.8 | 0.8 | 4.4 | 4.8 | 0.5 | N |  |  | SB | Y | 2 | 1996 |  |  | N | Industrial CHP | 7 | X | NG | [9 empty] | N | N |  | 10M | [23 empty] | N | N
4222 | Ingredion Inc - Illinois | 54556 | Ingredion Incorporated | IL | Cook | TGO1 | Conventional Steam Coal | ST |  | S | X | X |  |  | 22.5 | 0.8 | 21.1 | 21.2 | 5 | N |  |  | OP | X | 5 | 1991 |  |  | Y | Industrial CHP | 7 | T | BIT | NG |  |  |  |  | NG |  |  |  | N | N |  | 1H | Y |  |  |  |  | Y | [17 empty] | N | N
4222 | Ingredion Inc - Illinois | 54556 | Ingredion Incorporated | IL | Cook | TGO2 | Conventional Steam Coal | ST |  | S | X | X |  |  | 22.5 | 0.8 | 21.1 | 21.2 | 5 | N |  |  | OP | X | 5 | 1991 |  |  | Y | Industrial CHP | 7 | T | BIT | NG |  |  |  |  | NG |  |  |  | N | N |  | 1H | Y |  |  |  |  | Y | [17 empty] | N | N
6883 | Evanston Board of Education | 54788 | Evanston Township High School | IL | Cook | GEN1 | Natural Gas Internal Combustion Engine | IC |  | S | X | X |  |  | 0.8 | 0.8 | 0.8 | 0.8 | 0.4 | N |  |  | SB | Y | 12 | 1992 |  |  | N | Commercial Non-CHP | 4 | X | NG | [9 empty] | N |  |  | 10M | [23 empty] | N | N | N
6883 | Evanston Board of Education | 54788 | Evanston Township High School | IL | Cook | GEN2 | Natural Gas Internal Combustion Engine | IC |  | S | X | X |  |  | 0.8 | 0.8 | 0.8 | 0.8 | 0.4 | N |  |  | SB | Y | 12 | 1992 |  |  | N | Commercial Non-CHP | 4 | X | NG | [9 empty] | N |  |  | 10M | [23 empty] | N | N | N
6883 | Evanston Board of Education | 54788 | Evanston Township High School | IL | Cook | GEN3 | Natural Gas Internal Combustion Engine | IC |  | S | X | X |  |  | 0.8 | 0.8 | 0.8 | 0.8 | 0.4 | N |  |  | SB | Y | 12 | 1992 |  |  | N | Commercial Non-CHP | 4 | X | NG | [9 empty] | N |  |  | 10M | [23 empty] | N | N | N
11390 | M&M Mars Inc | 54855 | Mars Snackfood US | IL | Cook | 1 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 3.5 | 0.98 | 3 | 3.8 | 1 | N |  |  | OS | X | 5 | 1987 |  |  | Y | Industrial CHP | 7 | T | NG | [9 empty] | N |  |  | 12H | [23 empty] | N | N | N
15917 | Presence Health | 54886 | Presence Saint Mary of Nazareth Hospital | IL | Cook | GEN1 | Natural Gas Internal Combustion Engine | IC |  | S | X | X | NA | NA | 0.8 | 0.8 | 0.8 | 0.8 | 0.4 | N |  |  | SB | N | 8 | 1993 |  |  | N | Commercial Non-CHP | 4 | X | NG | [9 empty] | N | N |  | 10M | [23 empty] | N | N
15917 | Presence Health | 54886 | Presence Saint Mary of Nazareth Hospital | IL | Cook | GEN3 | Natural Gas Internal Combustion Engine | IC |  | S | X | X | NA | NA | 0.8 | 0.8 | 0.8 | 0.8 | 0.4 | N |  |  | SB | N | 8 | 1993 |  |  | N | Commercial Non-CHP | 4 | X | NG | [9 empty] | N | N |  | 10M | [23 empty] | N | N
15917 | Presence Health | 54886 | Presence Saint Mary of Nazareth Hospital | IL | Cook | GEN4 | Petroleum Liquids | IC |  | S | X | X | NA | NA | 0.9 | 0.9 | 0.9 | 0.9 | 0.3 | N |  |  | SB | N | 8 | 1993 |  |  | N | Commercial Non-CHP | 4 | X | DFO | [9 empty] | N | N |  | 10M | [23 empty] | N | N
15917 | Presence Health | 54886 | Presence Saint Mary of Nazareth Hospital | IL | Cook | GEN5 | Petroleum Liquids | IC |  | S | X | X | NA | NA | 0.9 | 0.9 | 0.9 | 0.9 | 0.3 | N |  |  | SB | N | 8 | 1993 |  |  | N | Commercial Non-CHP | 4 | X | DFO | [9 empty] | N | N |  | 10M | [23 empty] | N | N
15917 | Presence Health | 54886 | Presence Saint Mary of Nazareth Hospital | IL | Cook | GEN6 | Petroleum Liquids | IC |  | S | X | X | NA | NA | 0.8 | 0.8 | 0.8 | 0.8 | 0.3 | N |  |  | SB | N | 12 | 2006 |  |  | N | Commercial Non-CHP | 4 | X | DFO | [10 empty] | N |  | 10M | [23 empty] | N | N
18850 | Thorton Township School Dist | 55004 | Thornwood High School | IL | Cook | 1 | Natural Gas Internal Combustion Engine | IC |  | S | X | X |  |  | 0.7 | 0.8 | 0.7 | 0.5 | 0.4 | N |  |  | OP | X | 9 | 1996 |  |  | N | Commercial Non-CHP | 4 | X | NG | [9 empty] | N |  |  | 10M | [23 empty] | N
18850 | Thorton Township School Dist | 55004 | Thornwood High School | IL | Cook | 2 | Natural Gas Internal Combustion Engine | IC |  | S | X | X |  |  | 0.7 | 0.8 | 0.7 | 0.5 | 0.4 | N |  |  | OP | X | 9 | 1996 |  |  | N | Commercial Non-CHP | 4 | X | NG | [9 empty] | N |  |  | 10M | [23 empty] | N
18850 | Thorton Township School Dist | 55005 | Thornridge High School | IL | Cook | 1 | Natural Gas Internal Combustion Engine | IC |  | S | X | X |  |  | 0.5 | 0.8 | 0.5 | 0.4 | 0.3 | N |  |  | OP | X | 3 | 1996 |  |  | N | Commercial Non-CHP | 4 | X | NG | [9 empty] | N |  |  | 10M | [23 empty] | N
18850 | Thorton Township School Dist | 55005 | Thornridge High School | IL | Cook | 2 | Natural Gas Internal Combustion Engine | IC |  | S | X | X |  |  | 0.5 | 0.8 | 0.5 | 0.4 | 0.3 | N |  |  | OP | X | 3 | 1996 |  |  | N | Commercial Non-CHP | 4 | X | NG | [9 empty] | N |  |  | 10M | [23 empty] | N
54704 | Metropolitan Pier and Exposition Auth | 55067 | MPEA Energy Center | IL | Cook | GEN4 | Petroleum Liquids | IC |  | S | X | X |  |  | 2 | 1 | 2 | 2 | 2 | N |  |  | SB | N | 3 | 2010 |  |  | N | IPP Non-CHP | 2 | X | DFO | [9 empty] | N | N |  | 10M | [23 empty] | N | N | N
54704 | Metropolitan Pier and Exposition Auth | 55067 | MPEA Energy Center | IL | Cook | GEN5 | Petroleum Liquids | IC |  | S | X | X |  |  | 2 | 1 | 2 | 2 | 2 | N |  |  | SB | N | 3 | 2010 |  |  | N | IPP Non-CHP | 2 | X | DFO | [9 empty] | N | N |  | 10M | [23 empty] | N | N | N
54704 | Metropolitan Pier and Exposition Auth | 55067 | MPEA Energy Center | IL | Cook | GEN6 | Petroleum Liquids | IC |  | S | X | X |  |  | 2 | 1 | 2 | 2 | 2 | N |  |  | SB | N | 3 | 2010 |  |  | N | IPP Non-CHP | 2 | X | DFO | [9 empty] | N | N |  | 10M | [23 empty] | N | N | N
6035 | Exelon Power | 55281 | Southeast Chicago Energy Project | IL | Cook | GT05 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X | 944 SE C13.5 KV SE-5 | 944 SE C13.5 KV SE-5 | 50.9 | 0.85 | 37 | 40 | 25 | N |  |  | OS | X | 6 | 2002 |  |  | N | IPP Non-CHP | 2 | X | NG | [9 empty] | N | N |  | 1H | [23 empty] | N
6035 | Exelon Power | 55281 | Southeast Chicago Energy Project | IL | Cook | GT06 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X | 944 SE C13.5 KV SE-6 | 944 SE C13.5 KV SE-6 | 50.9 | 0.85 | 37 | 40 | 25 | N |  |  | OS | X | 6 | 2002 |  |  | N | IPP Non-CHP | 2 | X | NG | [9 empty] | N | N |  | 1H | [23 empty] | N
6035 | Exelon Power | 55281 | Southeast Chicago Energy Project | IL | Cook | GT07 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X | 944 SE C13.5 KV SE-7 | 944 SE C13.5 KV SE-7 | 50.9 | 0.85 | 37 | 40 | 25 | N |  |  | OS | X | 6 | 2002 |  |  | N | IPP Non-CHP | 2 | X | NG | [9 empty] | N | N |  | 1H | [23 empty] | N
6035 | Exelon Power | 55281 | Southeast Chicago Energy Project | IL | Cook | GT08 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X | 944 SE C13.5 KV SE-8 | 944 SE C13.5 KV SE-8 | 50.9 | 0.85 | 37 | 40 | 25 | N |  |  | OS | X | 6 | 2002 |  |  | N | IPP Non-CHP | 2 | X | NG | [9 empty] | N | N |  | 1H | [23 empty] | N
6035 | Exelon Power | 55281 | Southeast Chicago Energy Project | IL | Cook | GT09 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X | 944 SE C13.5 KV SE-9 | 944 SE C13.5 KV SE-9 | 50.9 | 0.85 | 37 | 40 | 25 | N |  |  | OS | X | 6 | 2002 |  |  | N | IPP Non-CHP | 2 | X | NG | [9 empty] | N | N |  | 1H | [23 empty] | N
6035 | Exelon Power | 55281 | Southeast Chicago Energy Project | IL | Cook | GT10 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X | 944 SE C13.5 KV SE10 | 944 SE C13.5 KV SE10 | 50.9 | 0.85 | 37 | 40 | 25 | N |  |  | OS | X | 6 | 2002 |  |  | N | IPP Non-CHP | 2 | X | NG | [9 empty] | N | N |  | 1H | [23 empty] | N
6035 | Exelon Power | 55281 | Southeast Chicago Energy Project | IL | Cook | GT11 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X | 944 SE C13.5 KV SE11 | 944 SE C13.5 KV SE11 | 50.9 | 0.85 | 37 | 40 | 25 | N |  |  | OS | X | 6 | 2002 |  |  | N | IPP Non-CHP | 2 | X | NG | [9 empty] | N | N |  | 1H | [23 empty] | N
6035 | Exelon Power | 55281 | Southeast Chicago Energy Project | IL | Cook | GT12 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X | 944 SE C13.5 KV SE12 | 944 SE C13.5 KV SE12 | 50.9 | 0.85 | 37 | 40 | 25 | N |  |  | OS | X | 6 | 2002 |  |  | N | IPP Non-CHP | 2 | X | NG | [9 empty] | N | N |  | 1H | [23 empty] | N
56213 | IPA Operations Inc - Calumet | 55296 | Calumet Energy Team LLC | IL | Cook | CT11 | Natural Gas Fired Combustion Turbine | GT |  | W | X | X |  |  | 156.4 | 1 | 162 | 176 | 109 | N |  |  | OP | X | 6 | 2002 |  |  | N | IPP Non-CHP | 2 | X | NG | [10 empty] | N |  | 1H | [23 empty] | N | N | N
56213 | IPA Operations Inc - Calumet | 55296 | Calumet Energy Team LLC | IL | Cook | CT12 | Natural Gas Fired Combustion Turbine | GT |  | W | X | X |  |  | 156.4 | 1 | 164.1 | 176 | 109 | N |  |  | OP | X | 6 | 2002 |  |  | N | IPP Non-CHP | 2 | X | NG | [10 empty] | N |  | 1H | [23 empty] | N | N | N
6035 | Exelon Power | 57191 | Exelon Solar Chicago | IL | Cook | ECS1 | Solar Photovoltaic | PV |  | S | X | X | 43 WILDW12.5 KV WPUL1SP | 43 WILDW12.5 KV WPUL1SP | 9 |  | 9 | 9 |  | N |  |  | OP | X | 12 | 2009 |  |  | N | IPP Non-CHP | 2 | X | SUN | [9 empty] | N | N | [22 empty] | N
58151 | Loyola University Health System | 58181 | Loyola University Health Plant | IL | Cook | UNIT1 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 5.3 | 0.9 | 3.9 | 5.6 | 0 | N |  |  | OP | X | 9 | 2005 |  |  | Y | Commercial CHP | 5 | T | NG | [9 empty] | N | N |  | 1H | [20 empty] | N |  |  | N | N | N
58151 | Loyola University Health System | 58181 | Loyola University Health Plant | IL | Cook | UNIT2 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 5.3 | 0.9 | 3.9 | 5.6 | 0 | N |  |  | OP | X | 9 | 2005 |  |  | Y | Commercial CHP | 5 | T | NG | [9 empty] | N | N |  | 1H | [20 empty] | N |  |  | N | N | N
58220 | Northeastern Illinois University | 58245 | Northeastern Illinois University Cogen | IL | Cook | GEN1 | Natural Gas Internal Combustion Engine | IC |  | S | X | X |  |  | 0.8 | 0.9 | 0.8 | 0.8 | 0 | N |  |  | SB | Y | 8 | 1995 |  |  | Y | Commercial CHP | 5 | T | NG | [9 empty] | N |  |  | 10M | [23 empty] | N
58220 | Northeastern Illinois University | 58245 | Northeastern Illinois University Cogen | IL | Cook | GEN2 | Natural Gas Internal Combustion Engine | IC |  | S | X | X |  |  | 0.8 | 0.9 | 0.8 | 0.8 | 0.1 | N |  |  | SB | Y | 8 | 1995 |  |  | Y | Commercial CHP | 5 | T | NG | [9 empty] | N |  |  | 10M | [23 empty] | N
58220 | Northeastern Illinois University | 58245 | Northeastern Illinois University Cogen | IL | Cook | GEN3 | Natural Gas Internal Combustion Engine | IC |  | S | X | X |  |  | 0.8 | 0.9 | 0.8 | 0.8 | 0.2 | N |  |  | SB | Y | 8 | 1995 |  |  | Y | Commercial CHP | 5 | T | NG | [9 empty] | N |  |  | 10M | [23 empty] | N
58220 | Northeastern Illinois University | 58245 | Northeastern Illinois University Cogen | IL | Cook | GEN4 | Natural Gas Internal Combustion Engine | IC |  | S | X | X |  |  | 0.8 | 0.9 | 0.8 | 0.8 | 0.3 | N |  |  | SB | Y | 8 | 1995 |  |  | Y | Commercial CHP | 5 | T | NG | [9 empty] | N |  |  | 10M | [23 empty] | N
58361 | Triton College | 58375 | Triton East and West Cogen | IL | Cook | 1 | Natural Gas Internal Combustion Engine | IC |  | S | X | X |  |  | 0.8 | 0.8 | 0.8 | 0.8 | 0.2 | N |  |  | OP | X | 4 | 1998 |  |  | Y | Commercial CHP | 5 | T | NG | [9 empty] | N | N | 0 | 10M | [23 empty] | N | N | N
58361 | Triton College | 58375 | Triton East and West Cogen | IL | Cook | 2 | Natural Gas Internal Combustion Engine | IC |  | S | X | X |  |  | 0.8 | 0.8 | 0.8 | 0.8 | 0.2 | N |  |  | OP | X | 4 | 1998 |  |  | Y | Commercial CHP | 5 | T | NG | [9 empty] | N | N |  | 10M | [23 empty] | N | N | N
58361 | Triton College | 58375 | Triton East and West Cogen | IL | Cook | 3 | Natural Gas Internal Combustion Engine | IC |  | S | X | X |  |  | 0.8 | 0.8 | 0.8 | 0.8 | 0.2 | N |  |  | OP | X | 7 | 2000 |  |  | N | Commercial CHP | 5 | X | NG | [9 empty] | N | N |  | 10M | [23 empty] | N | N | N
58361 | Triton College | 58375 | Triton East and West Cogen | IL | Cook | 4 | Natural Gas Internal Combustion Engine | IC |  | S | X | X |  |  | 0.8 | 0.8 | 0.8 | 0.8 | 0.2 | N |  |  | OP | X | 12 | 2000 |  |  | N | Commercial CHP | 5 | X | NG | [9 empty] | N | N |  | 10M | [23 empty] | N | N | N
58361 | Triton College | 58375 | Triton East and West Cogen | IL | Cook | 5 | Natural Gas Internal Combustion Engine | IC |  | S | X | X |  |  | 0.4 | 0.8 | 0.4 | 0.3 | 0.1 | N |  |  | OP | X | 3 | 2015 |  |  | N | Commercial CHP | 5 | X | NG | [9 empty] | N | N |  | 10M | [23 empty] | N | N | N
58583 | Museum of Science and Industry | 58635 | Museum of Science and Industry | IL | Cook | COGEN | Natural Gas Internal Combustion Engine | IC |  | S | X | X |  |  | 1.7 | 0.8 | 1.7 | 1.7 | 0.1 | N |  |  | OP | X | 4 | 2003 |  |  | Y | Commercial CHP | 5 | T | NG | [9 empty] | N |  |  | 10M | [23 empty] | N | N | N
58701 | Maine Township High School Dist 207 | 58825 | MTHS Co-Gen Buildings | IL | Cook | STH1 | Natural Gas Internal Combustion Engine | IC |  | S | X | X |  |  | 0.6 | 0.8 | 0.6 | 0.6 | 0.2 | N |  |  | OP | X | 1 | 1992 |  |  | Y | IPP CHP | 3 | T | NG | [10 empty] | N |  | 1H | [23 empty] | N | N | N
58701 | Maine Township High School Dist 207 | 58825 | MTHS Co-Gen Buildings | IL | Cook | STH2 | Natural Gas Internal Combustion Engine | IC |  | S | X | X |  |  | 0.6 | 0.8 | 0.6 | 0.6 | 0.2 | N |  |  | OP | X | 1 | 1992 |  |  | Y | IPP CHP | 3 | T | NG | [10 empty] | N |  | 1H | [23 empty] | N | N | N
58303 | Energy Systems Group LLC | 59794 | Chicago West Side Energy Center | IL | Cook | GEN1 | Natural Gas Fired Combustion Turbine | GT |  | W | X | X |  |  | 3.5 | 0.8 | 3.5 | 3.5 | 1.8 | N |  |  | OP | X | 10 | 2003 |  |  | Y | IPP CHP | 3 | T | NG | [9 empty] | N | N |  | 1H | [23 empty] | N
59626 | Northwest Community Hospital | 59847 | Northwest Community Hospital | IL | Cook | 1 | Natural Gas Internal Combustion Engine | IC |  | S | X | X |  |  | 1.1 | 0.8 | 0.9 | 1.1 | 0.9 | N |  |  | OP | X | 6 | 1996 |  |  | Y | IPP CHP | 3 | T | NG | [9 empty] | N | N |  | 10M | [23 empty] | N
59626 | Northwest Community Hospital | 59847 | Northwest Community Hospital | IL | Cook | 2 | Natural Gas Internal Combustion Engine | IC |  | S | X | X |  |  | 1.1 | 0.8 | 0.9 | 1.1 | 0.9 | N |  |  | OP | X | 6 | 1996 |  |  | Y | IPP CHP | 3 | T | NG | [9 empty] | N | N |  | 10M | [23 empty] | N
59626 | Northwest Community Hospital | 59847 | Northwest Community Hospital | IL | Cook | 3 | Natural Gas Internal Combustion Engine | IC |  | S | X | X |  |  | 1.1 | 0.8 | 0.9 | 1.1 | 0.9 | N |  |  | OP | X | 6 | 1996 |  |  | Y | IPP CHP | 3 | T | NG | [9 empty] | N | N |  | 10M | [23 empty] | N
59626 | Northwest Community Hospital | 59847 | Northwest Community Hospital | IL | Cook | 4 | Natural Gas Internal Combustion Engine | IC |  | S | X | X |  |  | 1.1 | 0.8 | 0.9 | 1.1 | 0.9 | N |  |  | OP | X | 6 | 1996 |  |  | Y | IPP CHP | 3 | T | NG | [9 empty] | N | N |  | 10M | [23 empty] | N
62915 | Madison Energy Holdings LLC | 63888 | ESIL-PFCHICAGO 3, LLC | IL | Cook | PF3CH | Solar Photovoltaic | PV |  | S | X | X |  |  | 1.4 | 0.98 | 1.4 | 1.4 | 0 | N |  |  | OP | X | 8 | 2020 |  |  | N | IPP Non-CHP | 2 | X | SUN
62915 | Madison Energy Holdings LLC | 63889 | ESIL-PFCHICAGO 2, LLC | IL | Cook | PF2CH | Solar Photovoltaic | PV |  | S | X | X |  |  | 1 | 0.98 | 1 | 1 | 0 | N |  |  | OP | X | 11 | 2020 |  |  | N | IPP Non-CHP | 2 | X | SUN
14293 | Nalco Co | 50326 | Nalco | IL | DuPage | AT1 | Natural Gas Fired Combined Cycle | CT | CC1 | W | X | Y |  |  | 4 | 0.8 | 3 | 3.5 | 0 | N |  |  | OP | X | 11 | 1985 |  |  | Y | Commercial CHP | 5 | T | NG | [9 empty] | N |  |  | 10M | [23 empty] | N | N | N
14293 | Nalco Co | 50326 | Nalco | IL | DuPage | DPOX | Natural Gas Fired Combined Cycle | CA | CC1 | W | Y | X |  |  | 0.7 | 0.8 | 0.7 | 0.7 | 0 | N |  |  | OS | X | 11 | 1985 |  |  | Y | Commercial CHP | 5 | B | NG | [9 empty] | N |  |  | 10M | [23 empty] | N | N | N
2836 | BP America Inc | 50722 | BP Naperville Cogeneration Facility | IL | DuPage | GEN1 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 8.3 | 0.8 | 7 | 12 | 4.3 | N |  |  | OP | X | 12 | 1990 |  |  | Y | Commercial CHP | 5 | T | NG | [9 empty] | N | N |  | 12H |  |  |  | N | [16 empty] | N |  |  | N | N | N
5483 | DuPage County | 54987 | Woodridge Greene Valley Treatment Plant | IL | DuPage | FM01 | Natural Gas Internal Combustion Engine | IC |  | S | X | X |  |  | 1.5 | 0.8 | 1.5 | 1.5 | 0.2 | N |  |  | SB | Y | 4 | 1996 |  |  | Y | Commercial CHP | 5 | T | NG | DFO | OBG |  |  |  | DFO |  |  |  | N | N |  | 10M | [23 empty] | Y | Y | Y
54843 | WM Illinois Renewable Energy LLC | 55014 | Greene Valley Gas Recovery | IL | DuPage | GEN1 | Landfill Gas | GT |  | S | X | X | Zonal | Zonal | 3.3 | 0.98 | 2.9 | 3.3 | 1 | N |  |  | OP | X | 5 | 1996 |  |  | N | IPP Non-CHP | 2 | X | LFG | [9 empty] | N |  |  | 1H | [23 empty] | N | N | N
54843 | WM Illinois Renewable Energy LLC | 55014 | Greene Valley Gas Recovery | IL | DuPage | GEN2 | Landfill Gas | GT |  | S | X | X | Zonal | Zonal | 3.3 | 0.98 | 2.9 | 3.3 | 1 | N |  |  | OP | X | 5 | 1996 |  |  | N | IPP Non-CHP | 2 | X | LFG | [9 empty] | N |  |  | 1H | [23 empty] | N | N | N
60503 | Aurora Generation LLC | 55279 | Aurora | IL | DuPage | CTG1 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X | 32417775 | 32417775 | 180.8 | 0.85 | 169.6 | 203.1 | 70 | N |  |  | OP | X | 6 | 2002 |  |  | N | IPP Non-CHP | 2 | X | NG | [9 empty] | N | N |  | 1H | [23 empty] | N | N | N
60503 | Aurora Generation LLC | 55279 | Aurora | IL | DuPage | CTG10 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X | 32417773 | 32417773 | 60.5 | 0.85 | 49.7 | 51.1 | 23 | N |  |  | OP | X | 6 | 2001 |  |  | N | IPP Non-CHP | 2 | X | NG | [9 empty] | N | N |  | 10M | [23 empty] | N | N | N
60503 | Aurora Generation LLC | 55279 | Aurora | IL | DuPage | CTG2 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X | 32417777 | 32417777 | 180.8 | 0.85 | 171.1 | 204.9 | 70 | N |  |  | OP | X | 6 | 2001 |  |  | N | IPP Non-CHP | 2 | X | NG | [9 empty] | N | N |  | 1H | [23 empty] | N | N | N
60503 | Aurora Generation LLC | 55279 | Aurora | IL | DuPage | CTG3 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X | 32417779 | 32417779 | 180.8 | 0.85 | 171.2 | 205.1 | 70 | N |  |  | OP | X | 6 | 2001 |  |  | N | IPP Non-CHP | 2 | X | NG | [9 empty] | N | N |  | 1H | [23 empty] | N | N | N
60503 | Aurora Generation LLC | 55279 | Aurora | IL | DuPage | CTG4 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X | 32417781 | 32417781 | 180.8 | 0.85 | 169.6 | 203.1 | 70 | N |  |  | OP | X | 5 | 2001 |  |  | N | IPP Non-CHP | 2 | X | NG | [9 empty] | N | N |  | 1H | [23 empty] | N | N | N
60503 | Aurora Generation LLC | 55279 | Aurora | IL | DuPage | CTG5 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X | 32417763 | 32417763 | 60.5 | 0.85 | 50.4 | 51.8 | 23 | N |  |  | OP | X | 5 | 2001 |  |  | N | IPP Non-CHP | 2 | X | NG | [9 empty] | N | N |  | 10M | [23 empty] | N | N | N
60503 | Aurora Generation LLC | 55279 | Aurora | IL | DuPage | CTG6 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X | 32417765 | 32417765 | 60.5 | 0.85 | 50.2 | 51.5 | 23 | N |  |  | OP | X | 5 | 2001 |  |  | N | IPP Non-CHP | 2 | X | NG | [9 empty] | N | N |  | 10M | [23 empty] | N | N | N
60503 | Aurora Generation LLC | 55279 | Aurora | IL | DuPage | CTG7 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X | 32417767 | 32417767 | 60.5 | 0.85 | 50.5 | 51.8 | 23 | N |  |  | OP | X | 6 | 2001 |  |  | N | IPP Non-CHP | 2 | X | NG | [9 empty] | N | N |  | 10M | [23 empty] | N | N | N
60503 | Aurora Generation LLC | 55279 | Aurora | IL | DuPage | CTG8 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X | 32417769 | 32417769 | 60.5 | 0.85 | 50.6 | 51.9 | 23 | N |  |  | OP | X | 5 | 2001 |  |  | N | IPP Non-CHP | 2 | X | NG | [9 empty] | N | N |  | 10M | [23 empty] | N | N | N
60503 | Aurora Generation LLC | 55279 | Aurora | IL | DuPage | CTG9 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X | 32417771 | 32417771 | 60.5 | 0.85 | 50.6 | 52 | 23 | N |  |  | OP | X | 6 | 2001 |  |  | N | IPP Non-CHP | 2 | X | NG | [9 empty] | N | N |  | 10M | [23 empty] | N | N | N
59718 | West Chicago Battery Storage LLC | 59959 | Elwood Energy Storage Center | IL | DuPage | WCBS | Batteries | BA |  | S | X | X |  |  | 19.8 |  | 19.8 | 19.8 | 0 | N |  |  | OP | X | 10 | 2015 |  |  | N | IPP Non-CHP | 2 | X | MWH | [12 empty] | 10M
60444 | Argonne National Laboratory | 60742 | Argonne National Laboratory CHP | IL | DuPage | CHP | Natural Gas Fired Combustion Turbine | GT |  | S | X | X | J310 | J310 | 6.3 | 0.9 | 4.7 | 7.1 | 0.5 | N |  |  | OP | X | 5 | 2016 |  |  | Y | IPP CHP | 3 | T | NG | [9 empty] | N | N |  | 12H | [23 empty] | N |  | N
Proposed
62856 | Forefront Power, LLC | 64181 | IL - SMHEC - Moraine Valley | IL | Cook | 18017 | Solar Photovoltaic | PV |  | S | X | X |  |  | 1.3 |  | 1.3 | 1.3 | U | 1 | 2021 | 1 | 2021 | N | IPP Non-CHP | 2 | N | SUN
Retired and Cancled
12384 | Midwest Generations EME LLC | 865 | Bloom | IL | Cook | 331 | Petroleum Liquids | GT |  | S | X | X |  |  | 19 |  | 11.2 | 14.2 |  | N |  |  | RE | X | 4 | 1971 | 1 | 2003 | N | IPP Non-CHP | 2 | X | DFO
12384 | Midwest Generations EME LLC | 865 | Bloom | IL | Cook | 332 | Petroleum Liquids | GT |  | S | X | X |  |  | 19 |  | 13.5 | 16.8 |  | N |  |  | RE | X | 4 | 1971 | 1 | 2003 | N | IPP Non-CHP | 2 | X | DFO
12384 | Midwest Generations EME LLC | 865 | Bloom | IL | Cook | 333 | Petroleum Liquids | GT |  | S | X | X |  |  | 19 |  | 12.7 | 15.7 |  | N |  |  | RE | X | 4 | 1971 | 1 | 2003 | N | IPP Non-CHP | 2 | X | DFO
12384 | Midwest Generations EME LLC | 865 | Bloom | IL | Cook | 334 | Petroleum Liquids | GT |  | S | X | X |  |  | 19 |  | 11.4 | 16.9 |  | N |  |  | RE | X | 4 | 1971 | 1 | 2003 | N | IPP Non-CHP | 2 | X | DFO
12384 | Midwest Generations EME LLC | 865 | Bloom | IL | Cook | 341 | Petroleum Liquids | GT |  | S | X | X |  |  | 19 |  | 13.7 | 16.9 |  | N |  |  | RE | X | 5 | 1971 | 1 | 2003 | N | IPP Non-CHP | 2 | X | DFO
12384 | Midwest Generations EME LLC | 865 | Bloom | IL | Cook | 342 | Petroleum Liquids | GT |  | S | X | X |  |  | 19 |  | 13.7 | 14.1 |  | N |  |  | RE | X | 5 | 1971 | 1 | 2003 | N | IPP Non-CHP | 2 | X | DFO
12384 | Midwest Generations EME LLC | 865 | Bloom | IL | Cook | 343 | Petroleum Liquids | GT |  | S | X | X |  |  | 19 |  | 11.9 | 15 |  | N |  |  | RE | X | 5 | 1971 | 1 | 2003 | N | IPP Non-CHP | 2 | X | DFO
12384 | Midwest Generations EME LLC | 865 | Bloom | IL | Cook | 344 | Petroleum Liquids | GT |  | S | X | X |  |  | 19 |  | 12.3 | 15.2 |  | N |  |  | RE | X | 5 | 1971 | 1 | 2003 | N | IPP Non-CHP | 2 | X | DFO
12384 | Midwest Generations EME LLC | 866 | Calumet | IL | Cook | 311 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 18.4 |  | 14.7 | 17.9 |  | N |  |  | RE | X | 6 | 1969 | 12 | 2004 | N | IPP Non-CHP | 2 | X | NG | DFO
12384 | Midwest Generations EME LLC | 866 | Calumet | IL | Cook | 312 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 18.4 |  | 14.1 | 17.4 |  | N |  |  | RE | X | 6 | 1969 | 12 | 2004 | N | IPP Non-CHP | 2 | X | NG | DFO
12384 | Midwest Generations EME LLC | 866 | Calumet | IL | Cook | 313 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 18.4 |  | 12.3 | 15.9 |  | N |  |  | RE | X | 6 | 1969 | 12 | 2004 | N | IPP Non-CHP | 2 | X | NG | DFO
12384 | Midwest Generations EME LLC | 866 | Calumet | IL | Cook | 314 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 18.4 |  | 14.8 | 18.4 |  | N |  |  | RE | X | 6 | 1969 | 12 | 2004 | N | IPP Non-CHP | 2 | X | NG | DFO
12384 | Midwest Generations EME LLC | 866 | Calumet | IL | Cook | 321 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 18.4 |  | 14.1 | 17.4 |  | N |  |  | RE | X | 6 | 1996 | 12 | 2004 | N | IPP Non-CHP | 2 | X | NG | DFO
12384 | Midwest Generations EME LLC | 866 | Calumet | IL | Cook | 322 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 18.4 |  | 14.2 | 18 |  | N |  |  | RE | X | 6 | 1996 | 12 | 2004 | N | IPP Non-CHP | 2 | X | NG | DFO
12384 | Midwest Generations EME LLC | 866 | Calumet | IL | Cook | 323 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 18.4 |  | 14.2 | 17.5 |  | N |  |  | RE | X | 6 | 1969 | 12 | 2004 | N | IPP Non-CHP | 2 | X | NG | DFO
12384 | Midwest Generations EME LLC | 866 | Calumet | IL | Cook | 324 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 18.4 |  | 14.2 | 17.5 |  | N |  |  | RE | X | 6 | 1969 | 12 | 2004 | N | IPP Non-CHP | 2 | X | NG | DFO
12384 | Midwest Generations EME LLC | 866 | Calumet | IL | Cook | 331 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 18.4 |  | 15.1 | 18.4 |  | N |  |  | RE | X | 6 | 1969 | 12 | 2004 | N | IPP Non-CHP | 2 | X | NG | DFO
12384 | Midwest Generations EME LLC | 866 | Calumet | IL | Cook | 332 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 18.4 |  | 13 | 17.3 |  | N |  |  | RE | X | 6 | 1969 | 12 | 2004 | N | IPP Non-CHP | 2 | X | NG | DFO
12384 | Midwest Generations EME LLC | 866 | Calumet | IL | Cook | 333 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 18.4 |  | 13.6 | 17.2 |  | N |  |  | RE | X | 6 | 1969 | 12 | 2004 | N | IPP Non-CHP | 2 | X | NG | DFO
12384 | Midwest Generations EME LLC | 866 | Calumet | IL | Cook | 341 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 19 |  | 13.7 | 17.9 |  | N |  |  | RE | X | 6 | 1970 | 12 | 2004 | N | IPP Non-CHP | 2 | X | NG | DFO
12384 | Midwest Generations EME LLC | 866 | Calumet | IL | Cook | 342 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 19 |  | 14 | 17.2 |  | N |  |  | RE | X | 6 | 1970 | 12 | 2004 | N | IPP Non-CHP | 2 | X | NG | DFO
12384 | Midwest Generations EME LLC | 866 | Calumet | IL | Cook | 343 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 19 |  | 13.6 | 16.8 |  | N |  |  | RE | X | 6 | 1970 | 12 | 2004 | N | IPP Non-CHP | 2 | X | NG | DFO
12384 | Midwest Generations EME LLC | 866 | Calumet | IL | Cook | 344 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 19 |  | 8.3 | 11.5 |  | N |  |  | RE | X | 6 | 1970 | 12 | 2004 | N | IPP Non-CHP | 2 | X | NG | DFO
12384 | Midwest Generations EME LLC | 867 | Crawford | IL | Cook | 311 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 17.3 |  | 17.3 | 13.9 |  | N |  |  | RE | X | 7 | 1968 | 3 | 2005 | N | IPP Non-CHP | 2 | X | NG | [9 empty] | N
12384 | Midwest Generations EME LLC | 867 | Crawford | IL | Cook | 312 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 17.3 |  | 13.7 | 17 |  | N |  |  | RE | X | 6 | 1968 | 3 | 2005 | N | IPP Non-CHP | 2 | X | NG | [9 empty] | N
12384 | Midwest Generations EME LLC | 867 | Crawford | IL | Cook | 313 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 17.3 |  | 14.4 | 17.9 |  | N |  |  | RE | X | 7 | 1968 | 3 | 2005 | N | IPP Non-CHP | 2 | X | NG | [9 empty] | N
12384 | Midwest Generations EME LLC | 867 | Crawford | IL | Cook | 314 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 17.3 |  | 13.9 | 17.3 |  | N |  |  | RE | X | 7 | 1968 | 3 | 2005 | N | IPP Non-CHP | 2 | X | NG
12384 | Midwest Generations EME LLC | 867 | Crawford | IL | Cook | 321 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 17.3 |  | 14.7 | 18.3 |  | N |  |  | RE | X | 7 | 1968 | 3 | 2005 | N | IPP Non-CHP | 2 | X | NG
12384 | Midwest Generations EME LLC | 867 | Crawford | IL | Cook | 322 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 17.3 |  | 14.7 | 18.3 |  | N |  |  | RE | X | 7 | 1968 | 3 | 2005 | N | IPP Non-CHP | 2 | X | NG
12384 | Midwest Generations EME LLC | 867 | Crawford | IL | Cook | 323 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 17.3 |  | 13.9 | 17.3 |  | N |  |  | RE | X | 7 | 1968 | 3 | 2005 | N | IPP Non-CHP | 2 | X | NG | [9 empty] | N
12384 | Midwest Generations EME LLC | 867 | Crawford | IL | Cook | 324 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 17.3 |  | 14.2 | 17.7 |  | N |  |  | RE | X | 6 | 1968 | 3 | 2005 | N | IPP Non-CHP | 2 | X | NG | [9 empty] | N
12384 | Midwest Generations EME LLC | 867 | Crawford | IL | Cook | 331 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 17.3 |  | 14.2 | 17.7 |  | N |  |  | RE | X | 7 | 1968 | 3 | 2005 | N | IPP Non-CHP | 2 | X | NG | [9 empty] | N
12384 | Midwest Generations EME LLC | 867 | Crawford | IL | Cook | 332 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 17.3 |  | 13.8 | 17.1 |  | N |  |  | RE | X | 7 | 1968 | 3 | 2005 | N | IPP Non-CHP | 2 | X | NG | [9 empty] | N
12384 | Midwest Generations EME LLC | 867 | Crawford | IL | Cook | 333 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 17.3 |  | 14.3 | 17.8 |  | N |  |  | RE | X | 7 | 1968 | 3 | 2005 | N | IPP Non-CHP | 2 | X | NG | [9 empty] | N
12384 | Midwest Generations EME LLC | 867 | Crawford | IL | Cook | 334 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 17.3 |  | 13.7 | 17 |  | N |  |  | RE | X | 6 | 1968 | 3 | 2005 | N | IPP Non-CHP | 2 | X | NG | [9 empty] | N
12384 | Midwest Generations EME LLC | 867 | Crawford | IL | Cook | 7 | Conventional Steam Coal | ST |  | S | X | X |  |  | 239.3 |  | 213 | 216 |  | N |  |  | RE | X | 5 | 1958 | 8 | 2012 | N | IPP Non-CHP | 2 | X | SUB | [9 empty] | N |  |  |  |  | Y |  |  | Y
12384 | Midwest Generations EME LLC | 867 | Crawford | IL | Cook | 8 | Conventional Steam Coal | ST |  | S | X | X |  |  | 358.1 |  | 319 | 326 |  | N |  |  | RE | X | 4 | 1961 | 8 | 2012 | N | IPP Non-CHP | 2 | X | SUB | [9 empty] | N |  |  |  |  | Y |  |  | Y
12384 | Midwest Generations EME LLC | 886 | Fisk Street | IL | Cook | 19 | Conventional Steam Coal | ST |  | S | X | X |  |  | 374 |  | 326 | 326 |  | N |  |  | RE | X | 7 | 1968 | 8 | 2012 | N | IPP Non-CHP | 2 | X | SUB | NG | [8 empty] | N |  |  |  |  | Y |  |  | Y
54843 | WM Illinois Renewable Energy LLC | 50573 | CID Gas Recovery | IL | Cook | GEN1 | Landfill Gas | GT |  | S | X | X | Zonal | Zonal | 3 | 0.98 | 2.9 | 3.3 | 1 | N |  |  | RE | X | 3 | 1989 | 4 | 2011 | N | IPP Non-CHP | 2 | X | LFG | [9 empty] | N |  |  | 1H | [7 empty] | N | N | N
54843 | WM Illinois Renewable Energy LLC | 50575 | Lake Gas Recovery | IL | Cook | GEN1 | Landfill Gas | GT |  | S | X | X | Zonal | Zonal | 3 | 0.98 | 2.9 | 3.3 | 1 | N |  |  | RE | X | 8 | 1988 | 10 | 2008 | N | IPP Non-CHP | 2 | X | LFG | [9 empty] | N |  |  | 1H | [7 empty] | N | N | N
15917 | Presence Health | 54886 | Presence Saint Mary of Nazareth Hospital | IL | Cook | GEN2 | Natural Gas Internal Combustion Engine | IC |  | S | X | X | NA | NA | 0.8 | 0.8 | 0.8 | 0.8 | 0.4 | N |  |  | RE | X | 8 | 1993 | 1 | 2015 | N | Commercial Non-CHP | 4 | X | NG | [9 empty] | N | N |  | 10M | [7 empty] | N | N
54704 | Metropolitan Pier and Exposition Auth | 55067 | MPEA Energy Center | IL | Cook | GEN1 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 1.1 | 1 | 1.1 | 1.1 | 1.1 | N |  |  | RE | X | 1 | 1997 | 1 | 2016 | Y | IPP Non-CHP | 2 | T | NG | [9 empty] | N | N |  | 10M | [7 empty] | N | N | N
54704 | Metropolitan Pier and Exposition Auth | 55067 | MPEA Energy Center | IL | Cook | GEN2 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 1.1 | 1 | 1.1 | 1.1 | 1.1 | N |  |  | RE | X | 1 | 1997 | 1 | 2016 | Y | IPP Non-CHP | 2 | T | NG | [9 empty] | N | N |  | 10M | [7 empty] | N | N | N
54704 | Metropolitan Pier and Exposition Auth | 55067 | MPEA Energy Center | IL | Cook | GEN3 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 1.1 | 1 | 1.1 | 1.1 | 1.1 | N |  |  | RE | X | 1 | 1997 | 1 | 2016 | Y | IPP Non-CHP | 2 | T | NG | [9 empty] | N | N |  | 10M | [7 empty] | N | N | N
9205 | Illinois Electricial Gen Partn | 55761 | Devonshire Power Partners LLC | IL | Cook | DO1 | Landfill Gas | IC |  | S | X | X |  |  | 1.1 |  | 1 | 1 |  | N |  |  | RE | X | 12 | 1997 | 12 | 2008 | N | IPP Non-CHP | 2 | X | LFG | [9 empty] | N
9205 | Illinois Electricial Gen Partn | 55761 | Devonshire Power Partners LLC | IL | Cook | DO2 | Landfill Gas | IC |  | S | X | X |  |  | 1.1 |  | 1 | 1 |  | N |  |  | RE | X | 12 | 1997 | 12 | 2008 | N | IPP Non-CHP | 2 | X | LFG | [9 empty] | N
9205 | Illinois Electricial Gen Partn | 55761 | Devonshire Power Partners LLC | IL | Cook | DO3 | Landfill Gas | IC |  | S | X | X |  |  | 1.1 |  | 1 | 1 |  | N |  |  | RE | X | 12 | 1997 | 9 | 2009 | N | IPP Non-CHP | 2 | X | LFG | [9 empty] | N
9205 | Illinois Electricial Gen Partn | 55761 | Devonshire Power Partners LLC | IL | Cook | DO4 | Landfill Gas | IC |  | S | X | X |  |  | 1.1 |  | 1 | 1 |  | N |  |  | RE | X | 12 | 1997 | 9 | 2009 | N | IPP Non-CHP | 2 | X | LFG | [9 empty] | N
9205 | Illinois Electricial Gen Partn | 55761 | Devonshire Power Partners LLC | IL | Cook | DO5 | Landfill Gas | IC |  | S | X | X |  |  | 1.1 |  | 1 | 1 |  | N |  |  | RE | X | 12 | 1997 | 9 | 2009 | N | IPP Non-CHP | 2 | X | LFG | [9 empty] | N
9205 | Illinois Electricial Gen Partn | 55768 | Avon Energy Partners LLC | IL | Cook | CH1 | Landfill Gas | IC |  | S | X | X |  |  | 1.1 |  | 0.9 | 0.9 |  | N |  |  | RE | X | 2 | 1997 | 7 | 2008 | N | IPP Non-CHP | 2 | X | LFG | [9 empty] | N
9205 | Illinois Electricial Gen Partn | 55768 | Avon Energy Partners LLC | IL | Cook | CH2 | Landfill Gas | IC |  | S | X | X |  |  | 1.1 |  | 0.9 | 0.9 |  | N |  |  | RE | X | 2 | 1997 | 8 | 2008 | N | IPP Non-CHP | 2 | X | LFG | [9 empty] | N
9205 | Illinois Electricial Gen Partn | 55768 | Avon Energy Partners LLC | IL | Cook | CH3 | Landfill Gas | IC |  | S | X | X |  |  | 1.1 |  | 0.9 | 0.9 |  | N |  |  | RE | X | 2 | 1997 | 2 | 2003 | N | IPP Non-CHP | 2 | X | LFG | [9 empty] | N
12384 | Midwest Generations EME LLC | 870 | Electric Junction | IL | DuPage | 311 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 19 |  | 14.6 | 17.7 |  | N |  |  | RE | X | 6 | 1970 | 12 | 2004 | N | IPP Non-CHP | 2 | X | NG
12384 | Midwest Generations EME LLC | 870 | Electric Junction | IL | DuPage | 312 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 19 |  | 15 | 18.3 |  | N |  |  | RE | X | 6 | 1970 | 12 | 2004 | N | IPP Non-CHP | 2 | X | NG
12384 | Midwest Generations EME LLC | 870 | Electric Junction | IL | DuPage | 313 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 19 |  | 15.1 | 18.3 |  | N |  |  | RE | X | 6 | 1970 | 12 | 2004 | N | IPP Non-CHP | 2 | X | NG
12384 | Midwest Generations EME LLC | 870 | Electric Junction | IL | DuPage | 314 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 19 |  | 14.7 | 17.9 |  | N |  |  | RE | X | 6 | 1970 | 12 | 2004 | N | IPP Non-CHP | 2 | X | NG
12384 | Midwest Generations EME LLC | 870 | Electric Junction | IL | DuPage | 321 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 19 |  | 14.9 | 18.8 |  | N |  |  | RE | X | 6 | 1970 | 12 | 2004 | N | IPP Non-CHP | 2 | X | NG
12384 | Midwest Generations EME LLC | 870 | Electric Junction | IL | DuPage | 322 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 19 |  | 14.6 | 17.7 |  | N |  |  | RE | X | 6 | 1970 | 12 | 2004 | N | IPP Non-CHP | 2 | X | NG
12384 | Midwest Generations EME LLC | 870 | Electric Junction | IL | DuPage | 323 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 19 |  | 14.4 | 17.5 |  | N |  |  | RE | X | 6 | 1970 | 12 | 2004 | N | IPP Non-CHP | 2 | X | NG
12384 | Midwest Generations EME LLC | 870 | Electric Junction | IL | DuPage | 324 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 19 |  | 15.3 | 18.7 |  | N |  |  | RE | X | 6 | 1970 | 12 | 2004 | N | IPP Non-CHP | 2 | X | NG
12384 | Midwest Generations EME LLC | 870 | Electric Junction | IL | DuPage | 331 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 19 |  | 14.7 | 17.9 |  | N |  |  | RE | X | 8 | 1970 | 12 | 2004 | N | IPP Non-CHP | 2 | X | NG
12384 | Midwest Generations EME LLC | 870 | Electric Junction | IL | DuPage | 332 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 19 |  | 15.1 | 18.5 |  | N |  |  | RE | X | 8 | 1970 | 12 | 2004 | N | IPP Non-CHP | 2 | X | NG
12384 | Midwest Generations EME LLC | 870 | Electric Junction | IL | DuPage | 333 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 19 |  | 14.7 | 17.8 |  | N |  |  | RE | X | 6 | 1970 | 12 | 2004 | N | IPP Non-CHP | 2 | X | NG
12384 | Midwest Generations EME LLC | 870 | Electric Junction | IL | DuPage | 334 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 19 |  | 14.7 | 17.9 |  | N |  |  | RE | X | 4 | 1971 | 12 | 2004 | N | IPP Non-CHP | 2 | X | NG
12384 | Midwest Generations EME LLC | 870 | Electric Junction | IL | DuPage | 341 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 19 |  | 9.5 | 12.8 |  | N |  |  | RE | X | 4 | 1971 | 12 | 2004 | N | IPP Non-CHP | 2 | X | NG | DFO
12384 | Midwest Generations EME LLC | 870 | Electric Junction | IL | DuPage | 342 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 19 |  | 9.8 | 12.8 |  | N |  |  | RE | X | 4 | 1971 | 12 | 2004 | N | IPP Non-CHP | 2 | X | NG | DFO
12384 | Midwest Generations EME LLC | 870 | Electric Junction | IL | DuPage | 343 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 19 |  | 10.4 | 13.2 |  | N |  |  | RE | X | 4 | 1971 | 12 | 2004 | N | IPP Non-CHP | 2 | X | NG | DFO
12384 | Midwest Generations EME LLC | 870 | Electric Junction | IL | DuPage | 344 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 19 |  | 9.9 | 12.8 |  | N |  |  | RE | X | 4 | 1971 | 12 | 2004 | N | IPP Non-CHP | 2 | X | NG | DFO
12384 | Midwest Generations EME LLC | 877 | Lombard | IL | DuPage | 311 | Petroleum Liquids | GT |  | S | X | X |  |  | 22.1 |  | 16.2 | 21.2 |  | N |  |  | RE | X | 6 | 1969 | 12 | 2004 | N | IPP Non-CHP | 2 | X | KER
12384 | Midwest Generations EME LLC | 877 | Lombard | IL | DuPage | 312 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 22.1 |  | 18.4 | 23 |  | N |  |  | RE | X | 6 | 1969 | 12 | 2004 | N | IPP Non-CHP | 2 | X | NG
12384 | Midwest Generations EME LLC | 877 | Lombard | IL | DuPage | 321 | Petroleum Liquids | GT |  | S | X | X |  |  | 22.1 |  | 15.5 | 20.2 |  | N |  |  | RE | X | 6 | 1969 | 12 | 2004 | N | IPP Non-CHP | 2 | X | KER
12384 | Midwest Generations EME LLC | 877 | Lombard | IL | DuPage | 322 | Petroleum Liquids | GT |  | S | X | X |  |  | 22.1 |  | 18.8 | 21.7 |  | N |  |  | RE | X | 6 | 1969 | 12 | 2004 | N | IPP Non-CHP | 2 | X | KER
12384 | Midwest Generations EME LLC | 877 | Lombard | IL | DuPage | 331 | Petroleum Liquids | GT |  | S | X | X |  |  | 22.1 |  | 16.2 | 21.2 |  | N |  |  | RE | X | 6 | 1969 | 12 | 2004 | N | IPP Non-CHP | 2 | X | KER
12384 | Midwest Generations EME LLC | 877 | Lombard | IL | DuPage | 332 | Natural Gas Fired Combustion Turbine | GT |  | S | X | X |  |  | 22.1 |  | 18.3 | 22.9 |  | N |  |  | RE | X | 6 | 1969 | 12 | 2004 | N | IPP Non-CHP | 2 | X | NG
54843 | WM Illinois Renewable Energy LLC | 55014 | Greene Valley Gas Recovery | IL | DuPage | GEN3 | Landfill Gas | GT |  | S | X | X | Zonal | Zonal | 3.3 | 0.98 | 2.9 | 3.3 | 1 | N |  |  | RE | X | 3 | 1998 | 2 | 2010 | N | IPP Non-CHP | 2 | X | LFG | [9 empty] | N |  |  | 1H | [7 empty] | N | N | N

## Solar_Y2020_Early_Release
Solar_Y2020_Early_Release
Utility ID | Utility Name | Plant Code | Plant Name | State | County | Generator ID | Status | Technology | Prime Mover | Sector Name | Sector | Nameplate Capacity (MW) | Summer Capacity (MW) | Winter Capacity (MW) | Operating Month | Operating Year | Lenses / Mirrors? | Single-Axis Tracking? | Dual-Axis Tracking? | Fixed Tilt? | East West Fixed Tilt? | Parabolic Trough? | Linear Fresnel? | Power Tower? | Dish Engine? | Other Solar Technology? | Azimuth Angle | Tilt Angle | DC Net Capacity (MW) | Crystalline Silicon? | Thin-Film (CdTe)? | Thin-Film (A-Si)? | Thin-Film (CIGS)? | Thin-Film (Other)? | Other Materials? | Net Metering Agreement? | Net Metering DC Capacity (MW) | Virtual Net Metering Agreement? | Virtual Net Metering DC Capacity (MW)
Operable
6035 | Exelon Power | 57191 | Exelon Solar Chicago | IL | Cook | ECS1 | OP | Solar Photovoltaic | PV | IPP Non-CHP | 2 | 9 | 9 | 9 | 12 | 2009 |  | Y | N | [7 empty] | 180 | 25 | 10 | Y | [5 empty] | N |  | N
62915 | Madison Energy Holdings LLC | 63888 | ESIL-PFCHICAGO 3, LLC | IL | Cook | PF3CH | OP | Solar Photovoltaic | PV | IPP Non-CHP | 2 | 1.4 | 1.4 | 1.4 | 8 | 2020 |  |  |  | Y | [6 empty] | 190 | 5 | 2.1 | Y | [5 empty] | N |  | N
62915 | Madison Energy Holdings LLC | 63889 | ESIL-PFCHICAGO 2, LLC | IL | Cook | PF2CH | OP | Solar Photovoltaic | PV | IPP Non-CHP | 2 | 1 | 1 | 1 | 11 | 2020 |  |  |  | Y | [6 empty] | 179 | 5 | 1.4 | Y | [5 empty] | N |  | N

## EnergyStorageY2020EarlyRelease
Energy_Storage_Y2020_Early_Release
Utility ID | Utility Name | Plant Code | Plant Name | State | County | Generator ID | Status | Technology | Prime Mover | Sector Name | Sector | Nameplate Capacity (MW) | Summer Capacity (MW) | Winter Capacity (MW) | Operating Month | Operating Year | Nameplate Energy Capacity (MWh) | Maximum Charge Rate (MW) | Maximum Discharge Rate (MW) | Storage Technology 1 | Storage Technology 2 | Storage Technology 3 | Storage Technology 4 | Nameplate Reactive Power Rating | Storage Enclosure Type | Arbitrage | Frequency Regulation | Load Following | Ramping / Spinning Reserve | Co-Located Renewable Firming | Transmission and Distribution Deferral | System Peak Shaving | Load Management | Voltage or Reactive Power Support | Backup Power | Excess Wind and Solar Generation
Operable
59718 | West Chicago Battery Storage LLC | 59959 | Elwood Energy Storage Center | IL | DuPage | WCBS | OP | Batteries | BA | IPP Non-CHP | 2 | 19.8 | 19.8 | 19.8 | 10 | 2015 | 7.9 | 19.8 | 19.8 | LIB |  |  |  | 22 | CS | N | Y